## Delivery Note
Delivery Note & POD
Print Date: | [5 empty] | 2026-06-09 20:03:39
Contract NO. | [5 empty] | 000918250001AL,000360260000AF,0003602539540F,000918250000AS,0003602539810F,0003602542290F | [9 empty] | Type： | MX
Purpose Of Delivery： | [5 empty] | To X-Docking(HW delivery to site) | [8 empty] | MR No.： MID12601171879 |  |  | Bill No.
RAD： |  | 2026-02-14 08:30:00 | [5 empty] | MOS: |  | 2026-02-21 00:00:00 |  |  |  |  | RSD： 2026-02-12 08:30:00
Delivery Address： | [5 empty] | Komp Pergudangan Graha Mitra Sukarame Block G Nomor 7. Jl. By Pas Alang-alang lebar Kec: Alang-alang lebar. Palembang Sumatera Selatan Kota Palembang
Subcon WH/X-Docking： | [6 empty] | ID1_PLM_XP | [7 empty] | Subcon WH/X-Docking Receiver： 0856-7109-292 |  |  | Pickup Person：
Subcon： PT. Poca Jaringan Solusi | [14 empty] | Site Receiver： Leonardo Sinaga/88274387209 |  |  | Remark：
Pickup Add: | [6 empty] | Jl. Bypass Alang-Alang Lebar, Alang Alang Lebar, Kec. Alang-Alang Lebar, Kota Palembang, Sumatera Selatan 30961
Including dangerous goods:Yes | [7 empty] | This list of goods contains dangerous goods. Please refer to the corresponding outer package/container label and product manual for logistics operations, including but not limited to anti-dumping, anti-rain, anti-fire, anti-violent handling, battery storage should be periodic recharge the electricity.
Site Information | [16 empty] | ③Site Transfer(All)
Site: |  |  |  |  | SUM-SS-PLG-0434_MOCN_WLUE/2273556_PerumnasTalangKelapa/SUM-SS-PLG-0434 | [11 empty] | (Remark the actual site when destination site change)
Address: |  |  |  | Perumnas Talang Kelapa Block 7 Palembang | [12 empty] | Address: ________________________________________________________________________________________________________________________________________
Project : |  |  |  | 56A0R9P/Indonesia XLSMART Network Consolidation Project | [12 empty] | Site: ________________ |  |  |  | Subcon: ________________
Contract No : |  |  |  | 000918250001AL,000360260000AF,0003602539540F,000918250000AS,0003602539810F,0003602542290F | [8 empty] | Customer PO： | 8000153087,8000154242,8000161730 |  |  | Signature: ________________ |  |  |  | Date: ________________
①Central Warehouse Outbound | [14 empty] | ②Subcon WH&X-Docking Sign |  | ③Site Sign |  |  |  | ④Site Goods Acceptance
Signature: ________________ | [8 empty] | Signature: ________________ | [5 empty] | Signature: ________________ |  | Signature: ________________ |  |  |  | Signature: ________________
Date: ________________ | [8 empty] | Date: ________________ | [5 empty] | Date: ________________ |  | Date: ________________ |  |  |  | Completed Date: ________________
Central WH: |  |  |  | ID1_PLB_ID |  |  |  |  | Carrier/ Pickup by: | [5 empty] | WH: ________________ |  | Subcon:_____________ |  |  |  | Subcon: ________________
①Item Information | [15 empty] | ② Subcon WH | ③Site | Remark |  |  | ④Installed Goods List
BoxName / Item | [8 empty] | Qty |  | Unit |  | Item Description |  |  | Received QTY | Received QTY | Moved Qty | Loss Qty | Damaged Qty | Item |  | Item Description | Count Qty
boxItems | [8 empty] | qty |  | unit |  | itemDescription1 | [7 empty] | item |  | itemDescription2
DID1202601230170B01 | [8 empty] | 1 |  | BOX | [9 empty] | 01075357 |  | System Power,ETP48600-C5A3-5357,TWO INPUT with Three Phase,Front cabling,442mm(W)*330mm(D)*220mm(H),NULL,Mechanical Interlock-XX
DID1202601230170B02 | [8 empty] | 1 |  | BOX | [9 empty] | 01075496-005 |  | Lithium Battery,ESM-48100U2,442mm (W) * 396mm (D) * 130mm (H),48V,100Ah),Type(1908323C800E)
DID1202601230170B03 | [8 empty] | 1 |  | BOX | [9 empty] | 02123490 |  | Power Distribution Box,DCDU17E,WD2E03DCDU,-48V,NA,250A,10,250A,Low Voltage Direct Current,DC Power Distribution Unit,6x50A Circuit Breaker and 4x30A Fuse(4 PCS Small Terminal)
DID1202601230170B04 | [8 empty] | 1 |  | BOX | [9 empty] | 02232XGD |  | Subassembly ¦ Accessories,Smoke sensor,Contain 2M Cable,Dry contact
DID1202601230170B05 | [8 empty] | 1 |  | BOX | [9 empty] | 02234AMF |  | Subassembly¦Accessories,Hert,GPS Antenna Package (Without Arrester)-Support 2.0
DID1202601230170B06 | [8 empty] | 1 |  | BOX | [9 empty] | 02312MUD-001 |  | Function Module,AIU03,AIU03-100C,AC Input Module,100A/3P+N Miniature Circuit Breaker,With AC SPD Inside,Package included
DID1202601230170B07 | [8 empty] | 1 |  | BOX | [9 empty] | 02312TCX |  | Function Module,R4850G5,R4850G5,3000W high efficiency rectifier module,Type(00000003)
DID1202601230170B08 | [8 empty] | 1 |  | BOX | [9 empty] | 02315KNR |  | RRU5526,WD5MZAACJFV,(TX869-879MHz/RX824-834MHz, TX758-803MHz/RX703-748MHz,-48VDC,25G,4T4R*2,4*120W)
DID1202601230170B09 | [8 empty] | 1 |  | BOX | [9 empty] | 03058626 |  | Finished Board Unit,HERT BBU,WD22UBBPg2,Universal Baseband Processing Unit g2
DID1202601230170B10 | [8 empty] | 1 |  | BOX | [9 empty] | 03058627 |  | Finished Board Unit,HERT BBU,WD22UBBPg3,Universal Baseband Processing Unit g3
DID1202601230170B11 | [8 empty] | 1 |  | BOX | [9 empty] | 25030191 |  | Electronic Electric Cable,450V/750V,60227 IEC 02(RV),6mm^2
DID1202601230170B12 | [8 empty] | 1 |  | BOX | [9 empty] | 25030393 |  | Electronic¦Electric Cable,300V/500V,60227 IEC 53(RVV),2x0.75mm^2,Black(2Cores:Brown,Blue),6A,Flat Outdoor Cable,CCC,CE
DID1202601230170B13 | [8 empty] | 1 |  | BOX | [9 empty] | 25030425 |  | Electronic¦Electric Cable,600V/1000V,ZA-RVV,4x16mm^2,Black(4Cores:Red,Yellow,Green,Black),85A,CE
DID1202601230170B14 | [8 empty] | 1 |  | BOX | [9 empty] | 25030429 |  | Electronic¦Electric Cable,450V/750V,60227 IEC 02(RV),16mm^2,Yellow/Green,85A,CCC,CE
DID1202601230170B15 | [8 empty] | 1 |  | BOX | [9 empty] | 25030639 |  | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,16mm^2,Black,107A,LSZH Cable,VDE,UL
DID1202601230170B16 | [8 empty] | 1 |  | BOX | [9 empty] | 25030699 |  | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,6mm^2,Yellow/Green,58A,LSZH Cable,VDE,UL
DID1202601230170B17 | [8 empty] | 1 |  | BOX | [9 empty] | 25030722 |  | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,16mm^2,Red,107A,LSZH Cable,VDE,UL
DID1202601230170B18 | [8 empty] | 1 |  | BOX | [9 empty] | 25030741 |  | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,35mm^2,Blue,171A,LSZH Cable,VDE,UL
DID1202601230170B19 | [8 empty] | 1 |  | BOX | [9 empty] | 25030742 |  | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,35mm^2,Black,LSZH Cable,VDE,UL
DID1202601230170B20 | [8 empty] | 1 |  | BOX | [9 empty] | 25035220 |  | Electronic¦Electric Cable,600V,UL2586,2x10mm^2(2x8AWG)-D,Black(2Cores:Blue,Black),Shielding Outdoor Cable,UL
DID1202601230170B21 | [8 empty] | 1 |  | BOX | [9 empty] | 25070009 |  | Coaxial Cable,1/2.74mm 50ohm,10.16mm,7.24mm,0mm,International type:RG-8U
DID1202601230170B22 | [8 empty] | 1 |  | BOX | [9 empty] | 27014739 |  | Directional Antenna,D04X-2x690-960/2x1695-2690-4x65-2x17i/2x18i-4xM-R,8*4.3-10 Female,Downtilt kit 27150247 packed separately
DID1202601230170B23 | [8 empty] | 1 |  | BOX | [9 empty] | 34060290 |  | Low Speed Transceiver,eSFP,1310nm,1.25Gb/s,-9dBm,-3dBm,-19dBm,LC(-40~85),10km
DID1202601230170B24 | [8 empty] | 1 |  | BOX | [9 empty] | 34060713 |  | XFP¦SFP+ Transceiver,SFP+,1310nm,9.8G,-8.2dBm,0.5dBm,-10.3dBm,LC,SM,1.4km
DID1202601230170B25 | [8 empty] | 1 |  | BOX
DID1202601230170B26 | [8 empty] | 1 |  | BOX
DID1202601230170B27 | [8 empty] | 1 |  | BOX
DID1202601230170B28 | [8 empty] | 1 |  | BOX
DID1202601230170B29 | [8 empty] | 1 |  | BOX
DID1202601230170B30 | [8 empty] | 1 |  | BOX
DID1202601230170B31 | [8 empty] | 1 |  | BOX
Total case(s)： |  |  |  |  | 31 | [5 empty] | Total volume(CBM)： |  |  | 4.5922 | Total weight(KG)： | 549.1498 |  |  | Vehicle No:
Specification:
1. | ①Central Warehouse Outbound | [7 empty] | need to be signed by shipper and pick up person when handover goods in central warehouse.
2. | ②Subcon WH&X-docking Sign | [7 empty] | need to be signed by designated X-docking&Subcon warehouse receiver.
3. | ③Site Sign | [5 empty] | need to be signed by designated consignee on site.
4. | ③Site Transfer(All) | [7 empty] | need to be signed by actual site in case change the destination site.
We may collect your name, telephone number, license plate number, Authoritative Social Identification Number and other personal information for the purpose of identity confirmation and goods signing. We will adopt reasonable security measures to protect your personal information and dispose of it in accordance with laws, regulations and contract requirements. You can query the full version of the privacy statement at https://isc.huawei.com or on the iSupply mobile client.
[6 empty] | For Site Sign | [15 empty] | For Site Verify
|  |  | (Only for Offline Operation) | [17 empty] | (Only for Offline Operation)

## Item Details
Bill No.:
Site： | SUM-SS-PLG-0434_MOCN_WLUE/2273556_PerumnasTalangKelapa/SUM-SS-PLG-0434
Project： | 56A0R9P/Indonesia XLSMART Network Consolidation Project
Box Name | Item | Qty | Item Description | SN
boxName | item | unit | itemDescription | sn
DID1202601230170B01 | 02232PAN | 1 PCS | MPE Site Materials Kit,Site Auxiliary Material Kit,For BBU5900
DID1202601230170B01 | 02232PAP | 1 PCS | MPE Site Materials Kit,Site Color Coding Auxiliary Material Kit,Color Coding
DID1202601230170B01 | 02232XGD | 1 PCS | Subassembly ¦ Accessories,Smoke sensor,Contain 2M Cable,Dry contact | 2102232XGD6TRB900145
DID1202601230170B01 | 02232XJM | 1 PCS | Subassembly ¦ Accessories,ETP48400-C3B1,Engineering installation materials package
DID1202601230170B01 | 02237428 | 2 PCS | DBS Antenna Feeder Installation Auxiliary Kit Per Sector,General Area
DID1202601230170B01 | 04050228 | 3 PCS | Traditional Signal Cable,AISG Cable,5m,RC8SM(S)-I,24/18AWG UL2464 (1P+4C)B,RC8SF(S)-I
DID1202601230170B01 | 04070005 | 2 PCS | Signal Cable,Shielded Straight Through Cable,2.2m,MP8-II,CC4P0.5GY(S),MP8-II,FTP
DID1202601230170B01 | 04070009 | 1 PCS | Traditional Signal Cable,5m
DID1202601230170B01 | 04070013 | 1 PCS | Traditional Signal Cable,20m
DID1202601230170B01 | 04070047 | 1 PCS | Traditional Signal Cable,1.2m
DID1202601230170B01 | 04070097 | 3 PCS | Traditional Signal Cable,AISG Communication cable,5m,D9M+D9(PS)(W),CC4P0.5PB(S),RC8SF(S)-I
DID1202601230170B01 | 04152341 | 1 PCS | Power Cable, 1.5M, 22AWG, Fan extension cable
DID1202601230170B01 | 14130777 | 1 PCS | Optical Cable Parts,DLC/UPC,2LC/UPC,single mode,20m,2 cores,0.34m/0.8m,GYFJH-2G.657A2,7.0mm,2mm,LSZH,Armored branch
DID1202601230170B01 | 14170020 | 8 PCS | Naked Crimping Terminal,OT,16mm^2,M6,Tin Plating,Naked Ring Terminal
DID1202601230170B01 | 14170023 | 12 PCS | Naked Crimping Terminal,OT,6mm^2,M6,Tin Plating,Insulated Ring Terminal,12~10AWG,yellow
DID1202601230170B01 | 16020596 | 2 PCS | Air-break Switch,MCB-AC 220V or DC 48V-125A-1Pole-10KA-For Indonesia
DID1202601230170B01 | 16022572 | 2 PCS | Miniature Circuit Breaker,80VDC,125A,1pole,10kA,C curve,voltage difference alarm node,PUSH-PULL type,126*30*40,Panel Mounting,negative with breaker,positive without breaker
DID1202601230170B01 | 21140652 | 6 PCS | Sham panel
DID1202601230170B01 | 29080025 | 1 PCS | MBTS DBS Cable Suite Label
DID1202601230170B01 | 29080383 | 3 PCS | Cable Label-RF Jumper Label For Indonesia - XLS Project
DID1202601230170B01 | 33010444-003 | 1 PCS | Liquid Level Sensor,Electrode Water Sensor,Cable length of 3m,Wire core immersion tin connection | CJ25BB000372
DID1202601230170B01 | 33010516 | 1 PCS | Temperature&Humidity Sensor,9-16V,-20~80degC,0~100%RH,+-1degC,+-8%RH,RS485,RJ45 | 2133010516CJRC005193
DID1202601230170B01 | 34060290 | 2 PCS | Low Speed Transceiver,eSFP,1310nm,1.25Gb/s,-9dBm,-3dBm,-19dBm,LC(-40~85),10km | 1000164561071 1000164561434
DID1202601230170B01 | 34060713 | 4 PCS | XFP¦SFP+ Transceiver,SFP+,1310nm,9.8G,-8.2dBm,0.5dBm,-10.3dBm,LC,SM,1.4km | AE253700103077 AE253700103059 AE253700103097 AE253700103049
DID1202601230170B02 | 01075496-005 | 1 PCS | Lithium Battery,ESM-48100U2,442mm (W) * 396mm (D) * 130mm (H),48V,100Ah),Type(1908323C800E) | EX25B0065244
DID1202601230170B03 | 01075496-005 | 1 PCS | Lithium Battery,ESM-48100U2,442mm (W) * 396mm (D) * 130mm (H),48V,100Ah),Type(1908323C800E) | EX25B0065243
DID1202601230170B04 | 21244338 | 1 PCS | Accessories of Cabinet or Chassis,DKBA44103667.ASM,Accessories of Outdoor Cabinet ,Sheet Metal,1-layer Lead-acid batteries elevator reused rack,MTS9300A,Telecom Energy | GR25B1962434
DID1202601230170B05 | 21244338 | 1 PCS | Accessories of Cabinet or Chassis,DKBA44103667.ASM,Accessories of Outdoor Cabinet ,Sheet Metal,1-layer Lead-acid batteries elevator reused rack,MTS9300A,Telecom Energy | GR25B1962436
DID1202601230170B06 | 21157233 | 1 SET | Universal Belt Protection for Rectifier Cabinet
DID1202601230170B07 | 27150247 | 3 PCS | Antenna Installation Accessories,Downtilt Kit-D
DID1202601230170B07 | 27151463 | 3 PCS | Antenna RET Component,AISU00004v01,Antenna Information Sensor Unit,10~30V,AISG | 212715146310R9101255 212715146310R9101254 212715146310R9101219
DID1202601230170B08 | 02312TCX | 6 PCS | Function Module,R4850G5,R4850G5,3000W high efficiency rectifier module,Type(00000003) | 2102312TCXNSRB003260 2102312TCXNSRB003371 2102312TCXNSRB003186 2102312TCXNSRB003231 2102312TCXNSRB003238 2102312TCXNSRB003134
DID1202601230170B09 | 02315KNR | 1 PCS | RRU5526,WD5MZAACJFV,(TX869-879MHz/RX824-834MHz, TX758-803MHz/RX703-748MHz,-48VDC,25G,4T4R*2,4*120W)
DID1202601230170B10 | 02315KNR | 1 PCS | RRU5526,WD5MZAACJFV,(TX869-879MHz/RX824-834MHz, TX758-803MHz/RX703-748MHz,-48VDC,25G,4T4R*2,4*120W)
DID1202601230170B11 | 27150086 | 40 PCS | Cable Installation Accessories,Cable Fixing Clamp,6 Runs(2x3 stacks),C Type Bracket,for Optical Cable + 3.3/4/6/8.3mm^2 RRU Power Cable
DID1202601230170B12 | 27150113 | 30 PCS | Antenna Cable Installation Accessories,Cable Fixing Clip,For GPS Feeder and Microwave IF Cable-1Card 2,Plastic Clamp+Rubber Sleeve,Stainless Steel
DID1202601230170B13 | 04130700-003 | 8 PCS | RF Jumper,6m,4.3-10SM,COAX50-8.7/3.55,4.3-10SM,1/2 Inch Superflexible Jumper
DID1202601230170B14 | 04130700-003 | 8 PCS | RF Jumper,6m,4.3-10SM,COAX50-8.7/3.55,4.3-10SM,1/2 Inch Superflexible Jumper
DID1202601230170B15 | 04130700-003 | 2 PCS | RF Jumper,6m,4.3-10SM,COAX50-8.7/3.55,4.3-10SM,1/2 Inch Superflexible Jumper
DID1202601230170B15 | 04130700-004 | 2 PCS | RF Jumper,10m,4.3-10SM,COAX50-8.7/3.55,4.3-10SM,1/2 Inch Superflexible Jumper
DID1202601230170B16 | 01075357 | 1 PCS | System Power,ETP48600-C5A3-5357,TWO INPUT with Three Phase,Front cabling,442mm(W)*330mm(D)*220mm(H),NULL,Mechanical Interlock-XX | BN2581051046
DID1202601230170B17 | 14130648 | 1 PCS | Optical Cable Parts,DLC/UPC,DLC/UPC,single mode,100m,2 cores,0.03m/0.34m,GYFJH-2G.657A2,7.0mm,2mm,LSZH,Armored branch
DID1202601230170B18 | 14130648 | 1 PCS | Optical Cable Parts,DLC/UPC,DLC/UPC,single mode,100m,2 cores,0.03m/0.34m,GYFJH-2G.657A2,7.0mm,2mm,LSZH,Armored branch
DID1202601230170B19 | 28010521 | 40 PCS | Isolation Material,Cold shrink tube-Wireless only,Grey,Cold Shrink Sealing Sleeve,Grey,Silicone Rubber,for DIN&4.3-10 type Connectors,with Instruction,Shelf life 1 year
DID1202601230170B20 | 02123490 | 1 PCS | Power Distribution Box,DCDU17E,WD2E03DCDU,-48V,NA,250A,10,250A,Low Voltage Direct Current,DC Power Distribution Unit,6x50A Circuit Breaker and 4x30A Fuse(4 PCS Small Terminal) | 2102123490P0RB003124
DID1202601230170B20 | 02234AMF | 1 PCS | Subassembly¦Accessories,Hert,GPS Antenna Package (Without Arrester)-Support 2.0 | 2102234AMFP0RA003714
DID1202601230170B20 | 02312MUD-001 | 1 PCS | Function Module,AIU03,AIU03-100C,AC Input Module,100A/3P+N Miniature Circuit Breaker,With AC SPD Inside,Package included | BT25C0854742
DID1202601230170B20 | 03058626 | 1 PCS | Finished Board Unit,HERT BBU,WD22UBBPg2,Universal Baseband Processing Unit g2 | 210305862610RA110167
DID1202601230170B20 | 03058627 | 1 PCS | Finished Board Unit,HERT BBU,WD22UBBPg3,Universal Baseband Processing Unit g3 | 210305862710RC106044
DID1202601230170B21 | 25030741 | 16 M | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,35mm^2,Blue,171A,LSZH Cable,VDE,UL
DID1202601230170B22 | 25030742 | 16 M | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,35mm^2,Black,LSZH Cable,VDE,UL
DID1202601230170B23 | 25030425 | 20 M | Electronic¦Electric Cable,600V/1000V,ZA-RVV,4x16mm^2,Black(4Cores:Red,Yellow,Green,Black),85A,CE
DID1202601230170B24 | 25030429 | 20 M | Electronic¦Electric Cable,450V/750V,60227 IEC 02(RV),16mm^2,Yellow/Green,85A,CCC,CE
DID1202601230170B25 | 25070009 | 30 M | Coaxial Cable,1/2.74mm 50ohm,10.16mm,7.24mm,0mm,International type:RG-8U
DID1202601230170B26 | 28010283 | 50 M | Isolation Material,Flexible metal conduit-PVC/Steel-D25-Outdoor-Black
DID1202601230170B27 | 25035220 | 120 M | Electronic¦Electric Cable,600V,UL2586,2x10mm^2(2x8AWG)-D,Black(2Cores:Blue,Black),Shielding Outdoor Cable,UL
DID1202601230170B28 | 25030191 | 2 M | Electronic Electric Cable,450V/750V,60227 IEC 02(RV),6mm^2
DID1202601230170B28 | 25030393 | 4 M | Electronic¦Electric Cable,300V/500V,60227 IEC 53(RVV),2x0.75mm^2,Black(2Cores:Brown,Blue),6A,Flat Outdoor Cable,CCC,CE
DID1202601230170B28 | 25030639 | 12 M | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,16mm^2,Black,107A,LSZH Cable,VDE,UL
DID1202601230170B28 | 25030699 | 4 M | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,6mm^2,Yellow/Green,58A,LSZH Cable,VDE,UL
DID1202601230170B28 | 25030722 | 12 M | Electronic¦Electric Cable,450V/750V,H07Z-K UL3386,16mm^2,Red,107A,LSZH Cable,VDE,UL
DID1202601230170B29 | 27014739 | 1 PCS | Directional Antenna,D04X-2x690-960/2x1695-2690-4x65-2x17i/2x18i-4xM-R,8*4.3-10 Female,Downtilt kit 27150247 packed separately
DID1202601230170B30 | 27014739 | 1 PCS | Directional Antenna,D04X-2x690-960/2x1695-2690-4x65-2x17i/2x18i-4xM-R,8*4.3-10 Female,Downtilt kit 27150247 packed separately
DID1202601230170B31 | 27014739 | 1 PCS | Directional Antenna,D04X-2x690-960/2x1695-2690-4x65-2x17i/2x18i-4xM-R,8*4.3-10 Female,Downtilt kit 27150247 packed separately